## Slide 1: Geomagnetically Induced Currents
Antti Pulkkinen
NASA Goddard Space Flight Center,
Heliophysics Science Division

## Slide 2: Contents
Why do we care?
Physics of geomagnetically induced currents (GIC).
GIC systems science.
Extreme GIC and E-field scenarios.
NASA GSFC work on the topic.
Conclusions.

## Slide 3: Brief history of the high-level US interest in the topic
Notes: FERC order 779 May 2013.
National Space Weather Strategy released by National Science and Technology Council (branch of White House).

## Slide 4: Why do we care?
GIC-driven half-cycle saturation of power transformers can cause:
  Leakage magnetic fields.
    Transformer heating
  Harmonic currents.
   Relay tripping
  Increased reactive power consumption.
   Voltage instability
Hydro-Québec March 1989

## Slide 5: Physics of GIC
Many large solar eruptions are associated with coronal mass ejections (CMEs) releasing 1012-1013 kg of solar corona material at speeds of 200-3000 km/s. CMEs drive the most significant geomagnetic activity and GIC.
STEREO B 304 Angstrom EUV and white light coronagraph March 12, 2012

## Slide 6: Physics of GIC

## Slide 7: Physics of GIC
Russell (IEEE Trans. on Plasma Science, 2000)
≈ 1 MA current into the ionosphere
Which powers electric currents in the system that generate the ground magnetic field variations
0.1-10 TW of power going in

## Slide 8: Physics of GIC
Geomagnetically induced current (GIC)

## Slide 9: The GIC systems science
Pulkkinen et al. (2017)
Marti et al. (2013)

## Slide 10: Extreme GIC
Current focus of the GIC work is to understand the Carrington storm-like extreme events.
Extreme events are driving the Federal Energy Regulatory Commission and National Space Weather Action Plan proceedings.

## Slide 11: Extreme GIC
Pulkkinen et al. (2015)
While the impact is highly system dependent, I use the following rule of thumb: “0.1 V/km - nobody cares, 1 V/km - hey pay attention, 10 V/km - lights out.”
“The magic” 8 V/km
IMAGE magnetometer chain

## Slide 12: Extreme GIC
October, 2003
March, 1989
INTERMAGNET network of geophysical observatories
What is this?
What is this?
Pulkkinen et al. (2012)

## Slide 13: NASA GSFC Geomagnetically Induced Currents (GIC) Activities
GIC that affect high-voltage power transmission systems are being addressed on three primary levels at GSFC: observations, forecasting and extreme event analyses.
Observations
We are in the process of establishing a network of GIC observation sites across the US. The work is carried out in close collaboration with the US power transmission industry.
Forecasting
We have developed state-of-the-art GIC forecasting system called “Solar Shield.” Solar Shield was developed further in collaboration with the Department of Homeland Security.
Extreme event analyses
Our extreme GIC event analyses have provided scientific guidance in the NERC/FERC geomagnetic disturbance standards development work.

## Slide 14: Conclusions
Pulkkinen et al. (Space Weather, 2017)

## Slide 15: Conclusions
GIC offers many science, engineering and applications challenges.
Applied science challenges can boost basic research work.
There are many urgent open science questions pertaining to GIC  many interesting challenges for YOU!